*Specifier Note: Red colored text below requires you to select an option before this specification can be completed. Options in red text are bound by parenthesis. Additional InvisiPerf Metal Panel information can be found on our website* [*www.materiallogiq.com*](http://www.materiallogiq.com)

SECTION 09 84 00

InvisiPerf Metal – Acoustic Wall Panels

PART 1 GENERAL

1. SECTION INCLUDES
   1. InvisiPerf Metal acoustic wall panels.
2. REFERENCES
   1. American Society for Testing and Materials (ASTM)
      1. ASTM C423: Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method
      2. ASTM E84: Standard Test Method for Surface Burning Characteristics of Building Materials
      3. ASTM E795: Standard Practices for Mounting Test Specimens During Sound Absorption Tests
   2. International Code Council (ICC)
      1. ICC IBC: International Building Code
3. SUBMITTALS
   1. Product Data: Manufacturer’s data sheet and installation instructions.
   2. Samples: Submit, at minimum, a 4” x 4” sample for each type of ceiling panel.
   3. Test Reports: Upon request, submit certified test reports to verify specified product performance.
4. MAINTENANCE MATERIAL
   1. Extra Stock Materials:
      1. Deliver no less than two percent (2%) / (Other) of each type, color, and pattern of material.
      2. Extra materials shall remain in the manufacturer’s original packaging and given to the building owner upon substantial completion of the work. Store extra materials per instructions as described in storage and handling requirements.
5. QUALITY ASSURANCE
   1. Qualifications:
      1. Manufacturers: Provide acoustical panels from a single manufacturer.
      2. Installers: Utilize an installer having demonstrated experience on projects of comparable size and complexity.
   2. Performance Requirements:
      1. Surface Burning Characteristics: Acoustical panels to perform as specified when tested in accordance with ASTM E84. Acoustical panel surface burning performance should comply with the International Building Code and other local building code requirements.
      2. Acoustical Characteristics: Acoustical panels to perform as specified when tested in accordance with ASTM C423.
6. DELIVERY, STORAGE, AND HANDLING
   1. Storage and Handling Requirements:
      1. Handle products carefully to avoid damage or chipping edges.
      2. Store products in a clean, cool, dry place, and out of direct sunlight.
      3. Store products in a space where the ambient temperature and humidity conditions are being maintained at the levels indicated for the project when occupied for its intended use.
7. SITE CONDITIONS
   1. Ambient Conditions: Maintain ambient temperature and humidity conditions at levels indicated for the project when occupied for its intended use.
   2. Existing Conditions: Do not install ceiling panels until space is enclosed and weather proofed, and wet work is completely dry.
8. WARRANTY
   1. Provide manufacturer’s written product warranty per Section 01 77 00 – Closeout Procedures.

PART 2 PRODUCTS

*Specifier Note: Red colored text below requires you to select an option before this specification can be completed. Options in red text are bound by parenthesis. Additional InvisiPerf Metal Panel information can be found on our website* [*www.materiallogiq.com*](http://www.materiallogiq.com)

1. MANUFACTURERS
2. MATERIAL LOGIQ, 123 Columbia Court N, Chaska, MN 55318.  
   Phone: 952-448-3835. Website: www.materiallogiq.com
3. DESCRIPTION
4. Product: InvisiPerf Metal wall panels manufactured by MATERIAL LOGIQ.
5. Product Options:
   1. Surface Texture: Smooth
   2. Panel Composition: InvisiPerf Metal with composite aluminum honeycomb core
   3. Panel Thickness: 1”
   4. Panel Size: (48” x 96”) / (48” x 120”)   
       (Custom sizes up to 48” x 144”)
   5. Edge Detail: Square
   6. Finish: Powder-Coated Colors  
       (Aqua Green) / (Beige White) / (Black) / (Cloud Gray) /   
       (Dark Brown) / (Ivory White) / (Pearl Yellow) / (Sky Blue) /   
       (Snow White)  
       Wood Grain Textures  
       (Teak) / (Dark Teak) / (Silver Teak) / (Oak) / (Red Oak) /  
       (Light Oak) / (Old Oak) / (Red Chestnut) / (Washed Maple)   
       Stone Textures  
       (Biostone) / (Granite) / Slate)
   7. Mounting Method: Z-Clip
6. Product Performance:
   1. Acoustical Performance
      1. Noise Reduction Coefficient (NRC) per ASTM C423: 0.80.
   2. Surface Burning Performance
      1. Fire Rating per ASTM E84: Class A.

PART 3 EXECUTION

1. EXAMINATION
2. Verification of Conditions**:** 
   1. Inspect installation area and conditions under which work is to be performed for compliance with all manufacturers’ environmental requirements.
   2. All wet work in the installation area must be complete, cured, and dry prior to installation.
   3. Wall assembly shall be complete, inspected, and accepted before wall work begins.
3. INSTALLATION
4. Comply with manufacturer’s instructions and recommendations for installation of acoustical wall and ceiling panels and with industry standards.
5. CLEANING
6. Clean surfaces of wall panels per manufacturer’s instructions.
7. Remove and replace damaged or discolored material and material that cannot be properly cleaned.
8. PROTECTION
9. Protect installed work from damage due to subsequent construction activity, including temperature and humidity limitations and dust control, so that the work will be without damage and deterioration at the time of acceptance by the owner.

END OF SECTION